| BASE/SLOT | TERM # | EXT. TERM | CHANNEL | BLOCK # 2 | SIGNAL DESCRIPTION | P3 PIN |
| --- | --- | --- | --- | --- | --- | --- |
| SWEEPER MAGNET P/S (J9) | 4(+) | BLUE | 1 | 2/C2 | SWEEPER MAGNET PROG. REFERENC | 02C |
| SWEEPER MAGNET P/S (J9) | 3(-) | BROWN | 1 | 2/A2 | SWEEPER MAGNET PROG. REFERENC | 02A |
| 0/4 | 3(+) | 11 | 2 | 18 BIT DAC | POWER SUPPLY CURRENT SETTING |  |
| 0/4 | 3(-) | 12 | 2 | 18 BIT DAC | POWER SUPPLY CURRENT SETTING |  |
| 0/4 | 4(+) | 15 | 3 | 3V P/S | POWER SUPPLY VOLTAGE SETTING |  |
| 0/4 | 4(-) | 16 | 3 | 3V P/S | POWER SUPPLY VOLTAGE SETTING |  |
| 1/4 | 3(+) | 11 | 6 | 18 BIT DAC | POWER SUPPLY CURRENT SETTING |  |
| 1/4 | 3(-) | 12 | 6 | 18 BIT DAC | POWER SUPPLY CURRENT SETTING |  |
| 1/4 | 4(+) | 15 | 7 | 3V P/S | POWER SUPPLY VOLTAGE SETTING |  |
| 1/4 | 4(-) | 16 | 7 | 3V P/S | POWER SUPPLY VOLTAGE SETTING |  |

VMIVME-4140

BASE 0/X = RIGHT SEPTUM                                           BASE 1/X = LEFT SEPTUM

DAC ANALOG OUT (64 PIN)