#### User name folts

#### Log entry time 19:42:58 on October 20, 2006

#### Entry number 187779

keyword=tech/cryo outage

A cold compressor trip in ESR was the cause of the down.

It recovered quickly but the right Q3 magnet did not. Took an access to look at the LL meter and found it good. asked the counting house to reboot Right HRS controls and LL problem cleared.

Reset magnets and left the Hall