## Master List
Spares List BB | Big Box Power Supply
Control System Electronics
[6 empty] | Unit | Total
Manufacturer | Danfysik Part No. | Used | Spares | Distributor | Description | Cost | Cost | Location
Siemens | 11131460 |  | 3 | GMW Associates | MOV Varistor S14K460 | 0.66 | 1.98 | Spares storage cabinet
Siemens | 11131560 |  | 3 | GMW Associates | MOV Varistor S14K560 | 1 | 3 | Q1 storage cabinet
Danfysik | 84082476 |  | 1 | GMW Associates | MOV PCB Board P-82476 | 8 | 8 | Spares storage cabinet
Danotherm | 11300063 |  | 2 | GMW Associates | Resistor 0R06 / 100W | 38 | 76 | Spares storage cabinet
Danotherm | 11351203 |  | 3 | GMW Associates | Resistor 1R2 / 375W 10% | 150 | 450 | Spares storage cabinet
Danotherm | 11304203 |  | 1 | GMW Associates | R1 Discharge Resistor 2kOhm 100W | 65 | 65 | Spares storage cabinet
Danotherm | 11350503 |  | 3 | GMW Associates | R2 A Inrush Pwr Resistor 0.8Ohm / 375W | 115 | 345 | Spares storage cabinet
BHC | 12121534 |  | 3 | GMW Associates | C1 Electrolytic Capacitor 3300uF / 400V | 100 | 300 | Spares storage cabinet
BHC | 121218547 |  | 2 | GMW Associates | C2 Electrolytic Capacitor 4.7mF / 350V | 115 | 230 | Spares storage cabinet
Rifa (EBS 3m3-350) | 12128533 |  | 5 | GMW Associates | Electrolytic Capacitor 3.3mF / 350V o'77 | 85 | 425 | Spares storage cabinet
Rifa | 12026511 |  | 5 | GMW Associates | Cx Capacitor MKP type 1uF / 400V | 2 | 10 | Spares storage cabinet
Westcode (U3034/105) | 22037090 |  | 1 | GMW Associates | TH1-12+D1-2 Thyristor/Diode Assembly | 3910 | 3910 | Transcontainer #870
Westcode | U3034 / 125 |  | 1 | GMW Associates | Freewheel Diode | 580 | 580 | Transcontainer #870
AA | AXA 52733 |  | 1 | GMW Associates | L1 Choke DK 20,00 200uH / 800A | 1460 | 1460 | Transcontainer #870
AEG (B721W 450-720A) | 14073755 |  | 1 | GMW Associates | RL1 Thermal breaker (replaced b375k) | 4400 | 4400 | Spares storage cabinet
AEG (LS637.22 / 220V) | 14093750 |  | 1 | GMW Associates | RL2 Circuit breaker (replaced LS375k.22) | 2300 | 2300 | Transcontainer #870
IDEC #RH1B-U | 14020306 |  | 1 | GMW Associates | RL4 RH1B Aux. Relay 24 VDC | 17 | 17 | Q1 storage cabinet
AEG (LS57.22 / 220V) | 14090550 |  | 1 | GMW Associates | RL5 Circuit breaker (replaced LS55) | 210 | 210 | Spares storage cabinet
AEG | E83B 6 |  | 2 | GMW Associates | RL6 Thermal breaker | 35 | 70 | Q1 storage cabinet
AEG | 14110010 |  | 2 | GMW Associates | RC1 (RC/AE.22/100/220) Snubber / RL2 | 7 | 14 | Q1 storage cabinet
AA German | ? |  | 0 | GMW Associates | RC Snubber circuit modification | 0 | 0 | Unidentified
Unic. (MCP-10D1 / 480V) | 14200291 |  | 1 | GMW Associates | Phase Control Relay 3X480 / 60Hz | 105 | 105 | Spares storage cabinet
AA | AXA 3TAS K65542.001 |  | 0 | GMW Associates | T1 Transformer, Power (TAS-K65542.001) | 10400 | 0
Prim: 3X480V,317.8KVA Sec: 2X3X209.8V
Knud Overgaard ApS | 13011234 |  | 1 | GMW Associates | T2 Transformer (K011234) | 200 | 200 | Transcontainer #870
Knud Overgaard ApS | 13013554 |  | 1 | GMW Associates | T3 Iso.Transformer (KO-13554) ISOTRAFOP | 195 | 195 | Transcontainer #870
Enerpro FCOG6100 | 40010003 |  | 1 | Enerpro (Direct) | SCR 3 Phase Firing circuit board | 900 | 900 | Q1 storage cabinet
Enerpro FCOAUX60 | 40010004 |  | 1 | Enerpro (Direct) | SCR Aux. 6 puls board | 432 | 432 | Q1 storage cabinet
Bentron | 13070904 |  | 1 | GMW Associates | Aux. DC Power supply S-9V / 4A | 250 | 250 | Spares storage cabinet
Klixon | 14149775 |  | 2 | GMW Associates | Thermal breaker Klixon # 9700L-56-11 (75 C) | 6 | 12 | Spares storage cabinet
Danfysik | 8100082041 | 1 | 2 | GMW Associates | Transistor Bank, Filter unit | 60.73 | 121.46 | Spares storage cabinet
Danfysik | 81088012 |  | 1 | GMW Associates | Transducer programming plug 1125A | 22 | 22 | Spares storage cabinet
Danfysik | 81088688 |  | 1 | GMW Associates | Transducer Head type 2000A | 1515 | 1515 | Spares storage cabinet
Danfysik | 81081699 |  | 1 | GMW Associates | Transistor Bank board Re=0R1 P-81699 | 135 | 135 | Spares storage cabinet
Danfysik | 81081760 |  | 1 | GMW Associates | Aux. Power supply | 145 | 145 | Spares storage cabinet
Danfysik | 81081787 |  | 1 | GMW Associates | DCCT (ElectronicTransducer) module | 165 | 165 | Spares storage cabinet
Danfysik | 81081877 |  | 1 | GMW Associates | Reg. module/Burden Res.18 bit DAC P-81877 | 1055 | 1055 | Spares storage cabinet
Danfysik | 8108204-01 |  | 1 | GMW Associates | Capacitor filter PCB for C2 P-82041 | 30 | 30 | Spares storage cabinet
Danfysik | 81082264 |  | 1 | GMW Associates | Transistor Bank interface P-82264 | 25 | 25 | Spares storage cabinet
Danfysik | 81082497 |  | 1 | GMW Associates | Thyristor Interface Pre. Regulator P-82497 | 85 | 85 | Spares storage cabinet
Danfysik | 81082509 |  | 1 | GMW Associates | Low Output current Sink P-82509 | 100 | 100 | Spares storage cabinet
Danfysik | 81082795 |  | 1 | GMW Associates | RS422 Iso. Board P-82795 | 235 | 235 | Spares storage cabinet
Danfysik | 81082944 |  | 1 | GMW Associates | Thyristor snubber board (modified version) | 70 | 70 | Spares storage cabinet
| Ref. (81082944) |  |  |  | Snubber P-82944
Danfysik | 81083852 |  | 1 | GMW Associates | Control module, 8 bit ADC readback P-82412 | 825 | 825 | Spares storage cabinet
"Mother" board
0
Parts / General
[6 empty] | Unit | Total
Manufacturer | Danfysik Part No. | Used | Spares | Distributor | Description | Cost | Cost | Location
Kobold | 14501040 |  | 1 | GMW Associates | Water flow switch SV-18R, 2-18L / min. | 765 | 765 | Spares storage cabinet
Kobold | 14501050 |  | 1 | GMW Associates | Water flow switch SV-55R, 5-55L / min. | 1400 | 1400 | Spares storage cabinet
Danfysik | 14306003 |  | 2 | GMW Associates | DS3 Doorswitch + adapter | 35 | 70 | Q1 storage cabinet
Danfysik | 14659901 |  | 2 | GMW Associates | Protections gitter for FAN | 1 | 2 | Spares storage cabinet
Sunon (or similar type) | DP101A-220V | 7 | 3 | GMW Associates | Cooling Fan 220VAC | 0 | 0 | Q1 storage cabinet
[6 empty] | 0 | 0
[6 empty] | 0 | 0
Cryogenics
[6 empty] | Unit | Total
Manufacturer | Danfysik Part No. | Used | Spares | Distributor | Description | Cost | Cost | Location
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
Vacuum System
[6 empty] | Unit | Total
Manufacturer | Danfysik Part No. | Used | Spares | Distributor | Description | Cost | Cost | Location
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | Total | 23734.44