## Master List
Spares List QD | FUG Power Supply & Magnets / Instrument Rack
Control System / Electronics
[6 empty] | Unit | Total
Manufacturer | FUG Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
FUG | 05 06 01 1700 | 4 | 1 | Magnavolt Tech. Inc. | U1 YNE 20 Circuit card | 770.27 | 770.27 | Q2-Q3 Storge cabinet
FUG | 05 06 01 1720 + 1725 | 4 | 1 | Magnavolt Tech. Inc. | U2 TMRE10 + TRME15 | 1194.59 | 1194.59 | Q2-Q3 Storge cabinet
FUG | 05 06 01 1690 | 4 | 1 | Magnavolt Tech. Inc. | U3 SE20 | 913.51 | 913.51 | Q2-Q3 Storge cabinet
FUG | 05 06 03 0270 |  | 1 | Magnavolt Tech. Inc. | U4A YZG30 | 735.14 | 735.14 | Q2-Q3 Storge cabinet
FUG | 05 06 01 1681 |  | 1 | Magnavolt Tech. Inc. | U5 QME11 | 1172.97 | 1172.97 | Q2-Q3 Storge cabinet
FUG | 05 06 02 4000 |  | 1 | Magnavolt Tech. Inc. | U6 NGG30 | 370.27 | 370.27 | Q2-Q3 Storge cabinet
FUG | 05 06 01 1710 |  | 1 | Magnavolt Tech. Inc. | U7 UNE10 | 924.32 | 924.32 | Q2-Q3 Storge cabinet
FUG | 04 02 05 0100 |  | 1 | Magnavolt Tech. Inc. | U8 EPCT / Coil | 3037.84 | 3037.84 | Q2-Q3 Storge cabinet
FUG | 05 06 03 0030 |  | 1 | Magnavolt Tech. Inc. | U20 Diode Module | 75.68 | 75.68 | Q2-Q3 Storge cabinet
FUG | 05 06 13 0370 |  | 1 | Magnavolt Tech. Inc. | UN ESB 10 | 242.16 | 242.16 | Q2-Q3 Storge cabinet
Taucher | 04 02 21 0170 |  | 1 | Magnavolt Tech. Inc. | M1 Transformer 669/57-185 | 6313.51 | 6313.51 | Physics storage mezzenine
Taucher | 04 02 30 1232 |  | 1 | Magnavolt Tech. Inc. | M2 Transformer TMOLWN BV162/1232 | 116.22 | 116.22 | Q2-Q3 Storge cabinet
Taucher | 04 02 30 1238 |  | 1 | Magnavolt Tech. Inc. | M3 Transformer TMOLWN BV 162/1238 | 45.95 | 45.95 | Q2-Q3 Storge cabinet
Taucher | 04 02 30 1239 | 2 | 2 | Magnavolt Tech. Inc. | M4 / M5 Transformer BV 162/1239 | 87.4 | 174.8 | Q2-Q3 Storge cabinet
FUG | 03 02 01 6250 |  | 1 | Magnavolt Tech. Inc. | Q1 Current Swith 3WE 6314-1AA44 | 5108.11 | 5108.11 | Physics storage mezzenine
FUG | 03 02 01 7300 |  | 1 | Magnavolt Tech. Inc. | Q2 Current Swith 3KW 7216-9A-2 | 5227.03 | 5227.03 | Physics storage mezzenine
| 01 06 02 4060 |  | 2 | Magnavolt Tech. Inc. | E01,E02 S20K60 Varistors | 0.97 | 1.94 | Q2-Q3 Storge cabinet
| 01 06 02 4275 |  | 10 | Magnavolt Tech. Inc. | E03,E04 S20K275Varistors | 0.97 | 9.7 | Q2-Q3 Storge cabinet
Siemens | 03 03 02 0070 |  | 1 | Magnavolt Tech. Inc. | K1 Relay 3TF20 10-3AL2 | 22.16 | 22.16 | Q2-Q3 Storge cabinet
ERNI (ERN 733-091) | ERN733091 |  | 24 | Sager Electronics | K1-K8B (U3 SE20 C.C.) Relay |  | 0 | Q2-Q3 Storge cabinet
Computer Components, Inc. | 400-754 | 0 | 65 | Relays-Unlimited .com Phone # 860-653-9909 | Circuit Card Relay | 29.95 | 1946.75 | Q2-Q3 Storge cabinet
Siemens | 3TF47 11-OAP6 | 4 | 2 | Siemens | k2 Relay 240V 60Hz w / aux. contacts 1 NO + 1NC |  | 0 | Q2-Q3 Storge cabinet
EAO Highland | 19-451.035A |  | 8 | Farnell P# 150584 | Mom. Switch (U3 SE20 C.C.) | 13.5 | 108 | Q2-Q3 Storge cabinet
EAO Highland | 19-951.2 |  | 2 | Compae P# 96B1949 | Switch (U3 SE20 C.C.) Lens - RED | 0.97 | 1.94 | Q2-Q3 Storge cabinet
EAO Highland | 19-951.5 |  | 2 | Compae P# 12C1539 | Switch (U3 SE20 C.C.) Lens - GRN | 0.97 | 1.94 | Q2-Q3 Storge cabinet
EAO Highland | 19-951.6 |  | 2 | Newark P# 25C2827 | Switch (U3 SE20 C.C.) Lens - BLU | 0.97 | 1.94 | Q2-Q3 Storge cabinet
NAiS (JW2SN-DC24V) | 255-1118-ND |  | 21 | Digi-Key | K11, K12 Polarity rev. cont. Relay |  | 0 | Q2-Q3 Storge cabinet
Siemens | 01 03 02 1405 |  | 1 | Magnavolt Tech. Inc. | D1A Diode D60NR04C | 10 | 10 | Q2-Q3 Storge cabinet
Eupec | 01 02 04 0200 | 4 | 4 | Magnavolt Tech. Inc. | Thyristor TK1A-1F 6T828N 02TOC-KA 20.6-MK (Torqe to 85 in. lbs.) | 1472.97 | 5891.88 | Q2-Q3 Storge cabinet
Eupec | 01 03 02 1000 |  | 10 | Magnavolt Tech. Inc. | D9A Diode 40HF40 | 3.24 | 32.4 | Q2-Q3 Storge cabinet
Eupec | T828N02TOF | 24 | 5 | Altech Corp. | Thyristor (PUCK) | 84.5 | 422.5 | Q2-Q3 Storge cabinet
Taucher | 04 02 31 1231 |  | 1 | Magnavolt Tech. Inc. | L1 Coil BV 162/1231 | 1156.76 | 1156.76 | Q2-Q3 Storge cabinet
| 05 06 03 0350 |  | 1 | Magnavolt Tech. Inc. | RG 40 Relay assembly | 81.08 | 81.08 | Q2-Q3 Storge cabinet
Siemens | 3SB14 00-OA |  | 13 | Capital Lighting | Reversing switch contact block 1NO + 1NC | 25 | 325 | Q2-Q3 Storge cabinet
ON Semiconductor | 2N3771G |  | 1300 | NEWARK Electronics | Transisitor NPN silicon TO-204 case | 1.6 | 2080 | TRANS Container 870
International Rectifier | IRFP3710PBF |  | 10 | INTRA-Net commerce | 100V Hexfet - Power Mosfet (Supersedes P# IXFH67N10) | 2.52 | 25.2 | Q2-Q3 Storge cabinet
Parts / General
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
Comepa | 25 0 86 11 050 035 | 12 | 10 | B & B Marketing | Thermo switch | 42.5 | 425 | Q2-Q3 Storge cabinet
Comepa | 25 2 88 11 075 035 | 0 | 10 | B & B Marketing | Thermo switch | 42.5 | 425 | Q2-Q3 Storge cabinet
Comepa | 25 2 88 12 065 035 | 12 | 0 | B & B Marketing | Thermo switch | 0 | 0 | ON ORDER
Comepa | 25 2 88 11 080 035 | 12 | 0 | B & B Marketing | Thermo switch | 0 | 0 | ON ORDER
Comepa | 25 2 88 11 090 035 | 0 | 0 | B & B Marketing | Thermo switch | 0 | 0 | ON ORDER
Buschjost #0927200.0201.23050 | 06 65 02 0100 | 2 | 1 | Magnavolt Tech. Inc. | Y1,Y2 thyristor cooling valve | 127.03 | 127.03 | Q2-Q3 Storge cabinet
Cryogenics
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
Right Spectometer Q2
American Magnetics Inc. | AMI 186 (new) | 1 | 1 | AM Inc. | LN2 Liquid level meter (Q2-R)(modified) 0-10V |  |  | Spares storage shelf #
American Magnetics Inc. | AMI 136 (new) | 1 | 1 | AM Inc. | LHe Liguid level meter (Q2-R)(modified) 0-10V |  |  | Spares storage shelf #
American Magnetics Inc. | AMI 136 (new) | 1 | 1 | AM Inc. | LHe (redundant) meter (Q2-R)(modified) 0-10V |  |  | Spares storage shelf #
MKS | Type 247 4-Channel | 1 | 2 | MKS Instruments | He Lead flow meter (Q2-R) Channels 1 & 2 used |  |  | Spares storage shelf #
NEWPORT | INFCR-010B | 2 | 1 | Newport electronics Inc. | Ice management controller (Q2-R)(1H72B07 rack) |  |  | Spares storage shelf #
American Magnetics Inc. | 07-1108-XX | 1 | 1 | AM Inc. | LN2 level probe 3/8" dia. 24.25" L (11.75" Active) | 295 |  | Q2-Q3 Storge cabinet
CAP-SD-3/3-3/8NSW-011.75-024.3-NS
Right Spectometer Q3
American Magnetics Inc. | AMI 186 (new) | 1 | 1 | AM Inc. | LN2 Liquid level meter (Q3-R)(modified) 0-10V |  |  | Spares storage shelf #
Cryomegnetics | LM-500 | 1 | 1 | Cryomegnetics Inc. | LHe Liguid level meter (Q3-R) 0-10V |  |  | Spares storage shelf #
MKS | 247C 4-Channel | 1 | 1 | MKS Instruments | He Lead flow meter (Q3-R) Channel 1 & 2 used |  |  | Spares storage shelf #
NEWPORT | INFCR-010B | 2 | 1 | Newport electronics Inc. | Ice management controller (Q3-R)(1H72B08 rack) |  |  | Spares storage shelf #
American Magnetics Inc. | 07-1108-XX | 1 | 1 | AM Inc. | LN2 level probe 3/8" dia. 24.25" L (10.625" Active) | 295 |  | Q2-Q3 Storge cabinet
CAP-SD-3/8-3/8NSW-010.6-024.3-NS
Left Spectometer Q2
American Magnetics Inc. | AMI 186 (new) | 1 | 1 | AM Inc. | LN2 Liquid level meter (Q2-L) |  |  | Spares storage shelf #
American Magnetics Inc. | AMI 136 (new) | 1 | 1 | AM Inc. | LHe Liguid level meter (Q2-L) |  |  | Spares storage shelf #
MKS | 247C 4-Channel | 1 | 2 | MKS Instruments | He Lead flow meter (Q2-L) Channels 1 & 2 used |  |  | Spares storage shelf #
NEWPORT | INFCR-010B | 2 | 1 | Newport electronics Inc. | Ice management controller (Q2-L)(1H71B07 rack) |  |  | Spares storage shelf #
American Magnetics Inc. | 07-1108-XX | 1 | 1 | AM Inc. | LN2 level probe 3/8" dia. 24.25" L (11.75" Active) | 295 |  | Q2-Q3 Storge cabinet
CAP-SD-3/3-3/8NSW-011.75-024.3-NS
Left Spectometer Q3
American Magnetics Inc. | AMI 136 /180 (combo) | 1 | 0 | AM Inc. | LN2 & LHe liquid level meter (Q3-L) combination |  |  | Spares storage shelf #
MKS | Type 247 4-Channel | 1 | 1 | MKS Instruments | He Lead flow meter (Q3-L) Channels 1 & 2 used |  |  | Spares storage shelf #
NEWPORT | INFCR-010B | 2 | 1 | Newport electronics Inc. | Ice management controller (Q3-L)(1H71B08 rack) |  |  | Spares storage shelf #
American Magnetics Inc. | 07-1108-XX | 1 | 1 | AM Inc. | LN2 level probe 3/8" dia. 24.25" L (10.625" Active) | 295 |  | Q2-Q3 Storge cabinet
CAP-SD-3/8-3/8NSW-010.6-024.3-NS
Vacuum System
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
[6 empty] | Total | 38748.32