## Master List
Spares List S1 | Septum Magnets & Power supply / Controls Racks
Control System / Electronics
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
Vector | 710B616A052-02-10-02 | 1 | 1 |  | IOCHA 049 Pancake crate |  |  | Spares storage Shelf #
Automation Direct | D4-450DC-1 | 1 | 1 |  | PLC CPU | 766 | 766 | Septum Storage Cabinet
Automation Direct | D4-08B-1 | 1 | 1 |  | 8 slot base | 143 | 143 | Septum Storage Cabinet
Automation Direct | H4-ECOM | 1 | 1 |  | 10BASE-T ETHERNET 405 MODULE | 319 | 319 | Septum Storage Cabinet
Automation Direct | F4-08AD | 6 | 2 |  | 8 channel analog input module | 417 | 834 | Septum Storage Cabinet
Automation Direct | F4-04DA-2 | 2 | 1 |  | 4 channel analog output module | 315 | 315 | Septum Storage Cabinet
Automation Direct | D4-16NE3 | 2 | 1 |  | 16 point input module | 93 | 93 | Septum Storage Cabinet
Automation Direct | D4-16TD2 | 4 | 1 |  | 16 point output module | 122 | 122 | Septum Storage Cabinet
Automation Direct | D4-EXCBL-1 | 1 | 1 |  | Expansion rack cable | 42 | 42 | Septum Storage Cabinet
Automation Direct | D4-EX | 1 | 1 |  | Expansion rack | 146 | 146 | Septum Storage Cabinet
Allen Bradley | 1492-CB1G100 | 10 | 2 |  | Circuit Breaker, 10 A | 18 | 36 | Septum Storage Cabinet
Allen Bradley | 1492-CB1G030 | 6 | 2 |  | Circuit Breaker, 3 A | 18 | 36 | Septum Storage Cabinet
Allen Bradley | 1492-CB1G020 | 2 | 2 |  | Circuit Breaker, 2 A | 18 | 36 | Septum Storage Cabinet
Allen Bradley | 1492-CB1G010 | 18 | 4 |  | Circuit Breaker, 1 A | 18 | 72 | Septum Storage Cabinet
Allen Bradley | 1492-CB1G005 | 4 | 2 |  | Circuit Breaker, 0.5 A | 18 | 36 | Septum Storage Cabinet
Allen Bradley | 700-HK32Z24 | 38 | 6 |  | Relay, DPDT, 24VDC coil |  |  | Septum Storage Cabinet
Allen Bradley | 700-HN122 | 38 | 2 |  | Socket, relay, DIN rail mount |  |  | Septum Storage Cabinet
Allen Bradley | 800T-H2A | 12 | 2 |  | Selector Switch, 2 pos., 1 NC, 1 NO |  |  | Septum Storage Cabinet
Allen Bradley | 800T-A2D1 | 24 | 2 |  | Pushbutton, black, 1 NO |  |  | Septum Storage Cabinet
Allen Bradley | 800T-XD1 | 24 | 4 |  | NO contacts for selector switches |  |  | Septum Storage Cabinet
Sola | SCP30D15B-DN | 2 | 1 |  | Power Supply +/- 15 VDC | 166 | 166 | Septum Storage Cabinet
Sola | SDN 10-24-100 | 4 | 1 |  | Power Supply, 24 VDC | 370 | 370 | Septum Storage Cabinet
Dataforth | DSCA 31-03 | 12 | 4 |  | Signal Conditioner | 189 | 756 | Septum Storage Cabinet
Dataforth | DSCA 31-01 | 4 | 2 |  | Signal Conditioner | 190 | 380 | Septum Storage Cabinet
Potter Brumfield | DNT-35-96 | 2 | 2 |  | Timing relay | 90 | 180 | Septum Storage Cabinet
Potter Brumfield | 27E892 | 2 | 2 |  | Relay socket | 11 | 22 | Septum Storage Cabinet
MacroSensors | LPC2100 | 10 | 2 |  | LVDT signal conditioner, 110 VAC powered | 228 | 456 | Septum Storage Cabinet
Square D | 8910 DPA 33V02 | 2 | 2 |  | Contactor 3PH 40A 600V~Max. 120VAC coil |  |  | Septum Storage Cabinet
Square D | 4B972 | 2 | 2 |  | 1 N.O. Aux. contact Class 9999 type D10 (for 8910 DPA) |  |  | Septum Storage Cabinet
International Rectifier | SD600R16PC Diode | 2 | 2 |  | Power diode | 90 | 180 | Septum Storage Cabinet
PowerTen | P63 | 1 | 1 |  | 10 VDC, 1000 ADC, 480 V 3phase, P/S | 5500 | 5500 | Septum Storage Cabinet
Magnecraft & Struthers-Dunn | W211ACPSOX-5 | 2 | 2 |  | Time Delay Relay 120VAC input 10A ~ .1 to10 seconds |  |  | Septum Storage Cabinet
MKS | M100B34CR1BB | 4 | 2 |  | Mass flow controller | 1095 | 2190 | Septum Storage Cabinet
Endress & Hauser | PMC41-RC22P6A11A1 | 4 | 2 |  | Pressure transducer | 555 | 1110 | Septum Storage Cabinet
OHMITE | L100J100 | 1 | 1 |  | Resistor 100 Ohm 100 Watt (ceramic wirewound) |  |  | Septum Storage Cabinet
Parts / General
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
Cryogenics
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
Neocera | FS-100-CA-PB | 4 | 2 |  | ROX Sensors, calibrated 1.5 - 20 K | 205 | 410 | Septum Storage Cabinet
LakeShore | CX-1070-SD | 4 | 2 |  | Cernox Sensors, calibrated 4 - 300 K | 503 | 1006 | Septum Storage Cabinet
OHMEGA | 1PT100KN2515CLA | 4 | 2 |  | PT Sensors | 18 | 36 | Septum Storage Cabinet
Lake Shore | WQL-36-100 |  | 100' |  | Quad wire, 36 AWG | 208 | 208 | Septum Storage Cabinet
LakeShore | 281E | 0 | 4 |  | Model 218E Temperature Monitor | 1242 | 4968 | Spares storage Shelf # 1
American Magnetics, Inc. | Model 135 | 2 | 1 |  | LHe level monitor | 780 | 780 | Spares storage Shelf #
American Magnetics, Inc. | Model 185 | 2 | 1 |  | Capacitance level monitor | 1045 | 1045 | Spares storage Shelf #
American Magnetics, Inc. | Active length = 21.5", Mounted to 2 3/4" rotatable conflat flange, Probe length from bottom face of flange is 31 5/8" |  | 1 |  |  | 500 | 500 | Spares storage Shelf #
American Magnetics, Inc. | Superconducting level sensor: Active length = 14", overall length = 16.5", sensor end within 0.5" of probe end, Mounted in 3/16" or 1/4" phenolic tube, 18" lead length |  | 1 |  |  | 300 | 300 | Spares storage Shelf #
FIKE | CPV-C LOT #0225813 |  | 2 | FIKE #17456-3 | Burst Disks - He (58.40 PSIG @ 72 degrees F) |  |  | Septum Storage Cabinet
FIKE | CPV-C LOT #0401771 |  | 5 | FIKE #202366 S2 1.000 | Burst Disks - LN2 (79.20 PSIG @ 72 degrees F) |  |  | Septum Storage Cabinet
Vacuum System
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
Kurt J. Lesker | KJL-205 | 2 | 2 |  | Thermocouple vacuum gauges | 65 | 130 | Septum Storage Cabinet
MKS | 109030002 | 2 | 1 |  | Cold cathode gauges | 625 | 625 | Septum Storage Cabinet
ISI | 9632000 | 4 | 2 |  | VCL Gas Return Isolators (ceramic standoffs) | 200 | 400 | Septum Storage Cabinet
ISI | 9131003 | 8 | 2 |  | 20 pin vacuum feedthrough | 375 | 750 | Septum Storage Cabinet
ISI | 9131002 | 2 | 1 |  | 10 pin vacuum feedthrough | 315 | 315 | Septum Storage Cabinet
|  |  | 1 |  | Miscellaneous conflat hardware - 4 1/2", 2 3/4" CF gasket, flanges | 500 | 500
|  |  | 1 |  | Miscellaneous 1/4" VCR glands, nuts and gaskets | 150 | 150
Granville-Phillips | 375001-00-T |  | 2 | Granville-Phillips | 375 Mini-Convectron (digital) Gauge Controller/Display |  |  | Septum Storage Cabinet
[6 empty] | Total | 26429