## Master List
Spares List VM | VME CRATE & UPS POWER SUPPLIES
Control System Electronics
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
RADSTONE | PME PIO-1 |  | 1 |  |  |  |  | Scot's Office / Repair
Motorola | MVME 712/M |  | 1 |  | Serial interface
Motorola | MVME 761-001 |  | 1 |  | Serial interface |  |  | Storage Room VME RACKS
Motorola | MVME 2700 761 I/O |  | 1 |  | IOC HA22 SPARE
Motorola | MVME335 |  | 3 |  |  |  |  | VME Storage Cabinet
Motorola | MVME162-012 |  | 2 |  |  |  |  | Storage Room VME RACKS
Motorola | MVME162-023 |  | 1 |  |  |  |  | Storage Room VME RACKS
Motorola | MVME162-033A |  | 1 |  |  |  |  | Storage Room VME RACKS
Motorola | MVME167-033 |  | 0
Motorola | MVME162-043 |  | 2 |  |  |  |  | Storage Room VME RACKS
Motorola | MVME177-005 |  | 2 |  |  |  |  | Storage Room VME RACKS
VMIC | VMIVME 1129 |  | 1 |  |  |  |  | VME Storage Cabinet
VMIC | VMIVME 1182 |  | 3 |  |  |  |  | VME Storage Cabinet
VMIC | VMIVME 2210 |  | 4 |  |  |  |  | VME Storage Cabinet
Motorola | MVME 2306 |  | 1 |  |  |  |  | Storage Room VME RACKS
VMIC | VMIVME 2510B |  | 1 |  |  |  |  | VME Storage Cabinet
VMIC | VMIVME 2540 |  | 1 |  |  |  |  | VME Storage Cabinet
VMIC | VMIVME 3122 |  | 1 |  |  |  |  | Storage Room VME RACKS
VMIC | VMIVME 3128 |  | 1 |  |  |  |  | Storage Room VME RACKS
VMIC | VMIVME 4116 |  | 1 |  |  |  |  | Storage Room VME RACKS
VMIC | VMIVME 4140 |  | 1 |  |  |  |  | VME Storage Cabinet
VMIC | VMIVME 4150 |  | 2 |  |  |  |  | VME Storage Cabinet
Motorola | MVME 5100 |  | 1 |  |  |  |  | Storage Room VME RACKS
VMIC | VMIVME 6016 |  | 2 |  |  |  |  | Storage Room VME RACKS
Tews DATEN Technik | TIP866-TM-30 |  | 3 |  |  |  |  | VME Storage Cabinet
Tews Technologies | TVME 200 |  | 2 |  |  |  |  | Storage Room VME RACKS
Hewlett Packard | HP 743 |  | 3 |  |  |  |  | Storage Room VME RACKS
Hewlett Packard | HPE1313A |  | 2 |  | 64 Channel Scanner |  |  | Storage Room VME RACKS
Hewlett Packard | HP3458A |  | 0
Compcontrol | CC121 |  | 1 |  | VMEbus Net card |  |  | Storage Room VME RACKS
Compcontrol | CC133 |  | 1 |  | VMEbus |  |  | VME Storage Cabinet
Highland | V460 |  | 2 |  | Analog scanner |  |  | VME Storage Cabinet
Highland | V550 |  | 2 |  | LVDT |  |  | VME Storage Cabinet
National Instruments | GPIB-1014D |  | 1 |  | GPIB Ports |  |  | VME Storage Cabinet
CAEN | Mod. V265 |  | 1 |  | 8 Channel cia nim |  |  | Storage Room VME RACKS
CAEN | Mod. V488 |  | 1 |  | 8 Channel TDC |  |  | Storage Room VME RACKS
Clermont-FD | LPC |  | 1 |  | Trigger control |  |  | Storage Room VME RACKS
Clermont-FD | LPC |  | 1 |  |  |  |  | Storage Room VME RACKS
Metrolab | PT2025
Metrolab | RG2040
Greenspring | IP-488 | [6 empty] | VME Storage Cabinet
MUPAC | 5099KLR21FC-100
Bi Ra | 322 |  | 1 |  | Digital Input |  |  | VME Storage Cabinet
JLAB | LEPD |  | 2 |  | LED pulser controller |  |  | Storage Room VME RACKS
JLAB | T1 |  | 1 |  |  |  |  | Storage Room VME RACKS
JORWAY | 74B |  | 1 |  | Serial controller |  |  | VME Storage Cabinet
Systran's I/O | VMESC5 |  | 1 |  |  |  |  | VME Storage Cabinet
STRUCK | STR 7201 |  | 1 |  | Scaler |  |  | Storage Room VME RACKS
Parts / General
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
Metrolab |  |  |  |  | Amp. / Multiplexer
Metrolab |  |  |  |  | Multiplexer
Metrolab |  |  |  |  | Field probe
SBS Greenspring | XM-OCTAL-I/O |  | 2 |  |  |  |  | VME Storage Cabinet
MiLAN Technology | (1P) MIL-05T |  | 6 |  | 10M Micro Transceiver |  |  | VME Storage Cabinet
JLAB | BNC & circuit card |  | 2 |  | VME Crate RESET card
Cryogenics
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
Bi Ra | 5333B |  | 1 |  | Scan ADC |  |  | VME Storage Cabinet
Highland | M460 |  | 1 |  | Analog Scanner |  |  | VME Storage Cabinet
[6 empty] | Unit | Total
Manufacturer | Part Number | Used | Spares | Distributor | Description | Cost | Cost | Location
[6 empty] | Total | 0