Task Hazard Analysis Worksheet

#											Date

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title |
| Division Physics | Prepared by |
| Department Hall A | Reviewed by |
| Supervisor | Approved by |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.