Task Hazard Analysis Worksheet

A-09-001-T

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location PSB | Task title Moller target N2 shield pressure test |
| Division Physics | Prepared by Folts |
| Department Hall-A | Reviewed by Dezern |
| Supervisor Folts | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Moller target N2 shield pressure test | Ear damage, Eye damage | 2 2 | Ear protection Safety glasses Test preformed in controlled area Stay at lease 3 feet from vessel while under pressure | 0 0 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.