Task Hazard Analysis Worksheet

A-08-107-T									Date 6/3/08

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Disconnect Power Cables from Big Bite Magnet |
| Division Physics | Prepared by Scot Spiegel |
| Department Hall A | Reviewed by Ed Folts |
| Supervisor Ed Folts | Approved by |
| Standard Requirements: Use Big Box SOP for Lock, Tag, and Try. (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Disconnect power cables from Big Bite Magnet Move and stow cables Work from ladder Elevated work in man lift | Electrical Shock hazard, severe injury, permanent disability or death Muscle, back strain Fingers or hand pinch Fall Dropped tools Crush, bump, pinch, fall | 4 1 1 2 2 2 | Follow standard SOP requirements for Lock, Tag and Try, and proper PPE to “safe” the Big Box power supply Use proper lift procedures for heavy objects Use gloves Ladder training Keep area under lift clear of personnel Equipment training, fall protection, man lift certification, Harness training | 0 1 0 1 0 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.