Task Hazard Analysis Worksheet

A-09									Date 9/25/09

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task Moeller target cryogenic system work |
| Division Physics | Prepared by Folts |
| Department Hall A | Reviewed by |
| Supervisor de Jager | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Moeller target cryogenics system work | ODH Cryo burns Fall due to height | 0 2 2 | ODH training, PPE Equipment training, cryo training, PPE, depressurize system Proper lifts, platforms and ladders and the proper training | 0 0 0 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.