Task Hazard Analysis Worksheet

#A-08-101-T										Date 5/2/08

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Work on HRS magnets with lead guards removed |
| Division Physics | Prepared by Folts |
| Department Hall A | Reviewed by |
| Supervisor de Jager | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Work on HRS magnets with lead guards removed Elevated work in the Hall | Electrical flash, shock hazard Dropped tools Crush, bump, pinch, fall | 4 2 2 | Lock, Tag and Try the source of electrical energy in accordance JLAB Lock, Tag and Try regulations by following SOP PHY-05-010 for Dipoles PHY-05-011 for Q1s PHY-05-012 for Q2/Q3s Keep area under magnet clear of personnel Equipment training, fall protection, manlift certification, ladder training Harness training | 1 0 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.