Task Hazard Analysis Worksheet

#A-08-091-T										Date 4/30/08

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Big Box polarity reversal procedure |
| Division Physics | Prepared by Mark Stevens |
| Department Hall A | Reviewed by |
| Supervisor Folts | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Big Box polarity reversal procedure | Electrical shock hazard Electrical arc blast hazard | 4 4 | Lockout, tagout and try the power supply in accordance with Jlab Lock Tag and Try regulations and this procedure. Lockout, tagout and try the power supply in accordance with Jlab Lock Tag and Try regulations and this procedure. | 1 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.