Task Hazard Analysis Worksheet

A-08-100-T										Date 5/2/08

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location: Hall A | Task title General work inside Dipole magnet power supplies after locked and tagged |
| Division Physics | Prepared by: Folts |
| Department Hall A | Reviewed by |
| Supervisor de Jager | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) SOP PHY-05-010, Hall A D1 power supply test and maintenance |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| General work in Dipole magnet power supplies after locked and tagged | Electrical flash, shock hazard | 4 | Lock, Tag and Try the source of electrical energy in accordance JLAB Lock, Tag and Try regulations by following SOP PHY-05-010 | 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.