Task Hazard Analysis Worksheet

A-08-032-T

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Power supply maintenance |
| Division Physics | Prepared by Folts |
| Department Hall A | Reviewed by |
| Supervisor deJager | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Power supply maintenance | Electric shock Arc flash | 4 | Do not work inside guards while energized (LTT required) Equipment specific training Electrical worker training SOP for required for superconductive magnet power supplies, Big Bite power supply and others based on individual power supply as assessed when installed in the future. | 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.