Task Hazard Analysis Worksheet

A-08-060-T

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location: Hall A, either Q1 power supply | Task title: Test accuracy/functionality of the water flow switch |
| Division Physics | Prepared by: Mark Stevens |
| Department Hall A | Reviewed by |
| Supervisor Folts | Approved by |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) SOP PHY-05-011, Hall A Q1 power supply test and maintenance |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Test the accuracy/functionality of the water flow switch. | Electrical flash, shock hazard Radioactive contamination hazard | 4 3 | Lock, Tag and Try the source of electrical energy in accordance with the power supply SOP before testing switch In accordance with the standing Radiation Work Permit, Radcon personnel will survey the dust present for radioactive contamination and if required write a Radiation Work Permit for the job. | 1 0 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.