Task Hazard Analysis Worksheet

A-08-071-T

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location: Hall A, either Q1 power supply | Task title: Replace chips on regulator board |
| Division Physics | Prepared by: Mark Stevens |
| Department Hall A | Reviewed by |
| Supervisor Folts | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) SOP PHY-05-011, Hall A Q1 power supply test and maintenance |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Replace all socketed chips on regulator board. | Low voltage electrical shock Radioactive contamination hazard | 0 3 | Turn off power before changing chips In accordance with the standing Radiation Work Permit, Radcon personnel will survey the dust present for radioactive contamination and if required write a Radiation Work Permit for the job. | 0 0 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.