Task Hazard Analysis Worksheet

A-08-090-T										Date 4/23/08

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Work with and around Glass target cells |
| Division Physics | Prepared by Folts |
| Department Hall A | Reviewed by |
| Supervisor de Jager | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Work with and around Glass target cells | Cell explosion Flying glass shards Radiation Radioactive contamination | 3 3 2 3 | Hearing protection Safety glasses Face shield Long sleeve shirt Long pants gloves Radcon permission Possible RWP Glass containment | 1 1 1 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.