Task Hazard Analysis Worksheet

# A-08-110-T									Date 11/07/2008

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title He3 gas system controls |
| Division Physics | Prepared by Spiegel |
| Department Hall A | Reviewed by Folts |
| Supervisor Folts | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Use controls to pressurize or evacuate He3 target reference cell (Local controls only) Remote control of Gas system | Target cell explosion None | 3 0 | Use warning beacons and guards when appropriate Equipment specific training Proper PPE, Safety glasses, face shield read and sign active OSP Operations done from outside of Hall A | 1 0 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.