Task Hazard Analysis Worksheet

A-08-046-T

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Removal of target chamber |
| Division Physics | Prepared by Folts |
| Department Hall A | Reviewed by |
| Supervisor deJager | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Removal of target chamber Moving heavy parts Elevated work Crane operations | Radiation dose Radiation contamination Back strain Bump, pinch Fall Drop tools Dropped load | 3 3 2 3 | RWP, RAD II training Lifting training, use of proper equipment, PPE Use if proper equipment, ladder training, manlift training, harness training, keep area under work clear of personnel Equipment training Proper PPE, Crane training | 0 1 1 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.