Task Hazard Analysis Worksheet

A-08-086-T									Date 4/16/08

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Work around Target chamber under vacuum |
| Division Physics | Prepared by Folts |
| Department Hall A | Reviewed by |
| Supervisor de Jager | Approved by |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Pump Down Cryo Target chamber | Window implosion Noise hazard | 2 2 | Insure that window and frame are properly prepared and that all bolts are torqued to 35 ft lbs Set up personnel boundaries and signs Provide and wear ear protection Install window guards | 1 0 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.