Task Hazard Analysis Worksheet

A-08-039-T

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Disconnect Cryo target |
| Division Physics | Prepared by Folts |
| Department Hall A | Reviewed by |
| Supervisor deJager | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Task | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Disconnect Cryo target Overhead work in manlift | Dropped tools Crush, bump, pinch, fall | 2 2 | Keep area under lift clear Equipment training, fall protection, manlift certification Ladder training, warning cones | 0 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.