Task Hazard Analysis Worksheet

A-08-052-T

| Complete all information. Use as many sheets as necessary. |  |
| --- | --- |
| Task location Hall A | Task title Beryllium window replacement |
| Division Physics | Prepared by Folts |
| Department Hall A | Reviewed by |
| Supervisor deJager | Approved by Folts |
| Standard Requirements: (PPE, TOSPs, SOPs, etc.) |  |

| Sequence of Job Steps | Potential Hazards | Risk Code before mitigation | Safe Procedures/Practices/Controls | Risk Code after mitigation |
| --- | --- | --- | --- | --- |
| Beryllium window replacement | Radiation exposure and contamination Beryllium exposure and contamination Thin window rupture on pump down | 3 3 2 | RWP, RAD II training and coverage proper PPE Beryllium training, proper PPE, IH permit and coverage Hearing and eye protection Equipment specific training | 0 1 1 |

When a completed analysis indicates that the estimated risk code for any of the steps of this task is “medium” or higher (RC≥3), then develop a formal written procedure for the task and have it reviewed and approved prior to beginning the work.