|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| [http://opweb.acc.jlab.org/CSUEApps/elog02/gif/up_arrow02.gif](http://opweb.acc.jlab.org/CSUEApps/elog02/elog_item.php?elog_id=1484033) | [http://opweb.acc.jlab.org/CSUEApps/elog02/gif/down_arrow02.gif](http://opweb.acc.jlab.org/CSUEApps/elog02/elog_item.php?elog_id=1483999) | [http://opweb.acc.jlab.org/CSUEApps/elog02/gif/follow-up.png](http://opweb.acc.jlab.org/CSUEApps/elog02/make_elog.php?followup=1484002) | [http://opweb.acc.jlab.org/CSUEApps/elog02/gif/myelog.png](javascript:newWindow('save_elog.php?elog_id=1484002&username=','savewin')) | [INDEX [http://opweb.acc.jlab.org/CSUEApps/elog02/gif/right_arrow02.gif](http://opweb.acc.jlab.org/CSUEApps/elog02/elog.php?quicksearch=#1484002)](http://opweb.acc.jlab.org/CSUEApps/elog02/elog.php?quicksearch=#1484002) |

|  |  |  |
| --- | --- | --- |
| [**1484002**](http://opweb.acc.jlab.org/CSUEApps/elog02/elog.php?quicksearch=1484002&logbook=ALL&entry_type=ALL#bracketed) | **Hall A 71Q3 level alarm** | |
| **30-Aug-09 09:35** | **G\_Justice** | **CLOG** |
|  | | |

|  |
| --- |
| Again I am called in for liquid level alarm on Hall A 71Q3. I suspect the setup  is not adequate for the present operating setup. I am, therefore, going to  raise the max valve position limit on the bottom fill valve from 27% to 30% with  the hope that the valve control can maintain level above the low alarm. |

