Right arm cryo valves locked up.

During the cool down we noticed there was no bit flicker or valve activity on the right arm magnets.   There were no indications of scanning on the front of the EV card in the CAMAC crate.   I contacted Jonathan Creel.  He re-initiated the crate.  Fixed.  All is working properly.