Temperature in the left detector stack was above 90 degrees.
Blown fuse inside left detector stack AC found by MRI.