#### User name Jack

#### Log entry time 18:17:32 on October31,2006

#### Entry number 188644

keyword=Magnet work in hall today

Heidi, Mark and I replaced the NMR meter on the Left Arm. We worked on the current readback for the Left Dipole. We suspect there was a resistive short on the output for the current monitor. After monkeying around with it for a while the short went away. Dust buildup is suspected, but we were unable to duplicate the problem.