Troubleshoot failure on Saclay controls rack. Found 16A fuse blown at
FU6. position and replaced it. Note: Fuse is for main 48 volt power for Q1 flag heaters and ground fault control section of the Saclay rack.