#### User name EWING

#### Log entry time 14:44:10 on August 15, 2006

#### Entry number 180159

keyword=R Q1 N2 Liquid Level

Right Q1 N2 Liquid level meter was reading 0. The return lines were NOT iced. The supply valve was only opened to 18%. Cryo adjusted the control loop. This should fix the problem.