The right Q1 He readback circuit has been converted from 2-10 V to 0-10V to the hall A tools page (1313 ch 18). The cryo readback is still 4-20 ma converted to 2-10V at cryo's cross connect rack. Both circuits are isolated with Pheonix isolation modules.