Lead flow A on Q1 right had erratic readback. Flow transducers, and meters read normally. Reset magnet and Saclay rack, problem is solved.