The right arm 2 & 3 have just starting changing current from the set value by more that 10% ?! Nothing was being done at the time. We tried reseting the momentum, but it didn't help. I called Mark Stevens to look into the problem.

We used the green reset button in the back room to reset the right magnet IOC. Once this was done Q2 and Q3 worked again as they should.