#### User name Fansler

#### Log entry time 14:47:59 on August 04, 2006

#### Entry number 177404

keyword=L Q3 Current Instability

L Q3 is drifting off current and momentum set points. We replaced the power supplies solid metal front panel with a perforated metal panel. We are hoping the increased air flow, thus increased cooling will help stabilize the current.