Received this from Javier: "Scott Higgins will add alarms to the "Quench" and "Fault (Slow Dump)" status indicators sometime tomorrow (6/21). iocha49 will have to be rebooted to load the new alarm setpoints - we will wait until you or other spokesperson tell us is OK to reboot the IOC. I will then add the signals to the alarm handler which will have to be re-started.

Javier " This should make life easier for shift workers.